## Slide 1
Deep River
Hydrokinetic cross-flow turbines

## Slide 2
Global warming
Polluting energy production
Costly and long-term energy development
Developing green industry and jobs
Challenges and Opportunities

## Slide 3
Deep River’s solution
Production of local renewable energy
Zero emissions
Stable electricity supply
Competitive pricing
Low maintenance costs

## Slide 4: Concept drawing

## Slide 5
Deep River turbine
Turbine solution for rivers, tides and currents
Standard container-based modules
Easy and flexible transport
No dams or pipelines
Floating anchored turbines

## Slide 6
Competing energy production,
diesel power plants
Example: A diesel power plant that produces 200 kW
has the following fuel consumption:
1 hour: about 55 liters
24 hours: about 1320 liters
1 year: about 481,800 liters
Estimated CO2 emission
per year: 1290 tons

## Slide 8: Proof of concept
A brief presentation of the model
Is this a drag- or lift driven concept?
Effect and torque at different velocities
Compiled by Bernt Sørby
NYAC – 08.Mars 2013

## Slide 9: The Model
Globally:
  Navier stokes laminar and frictionless flow
Boundary conditions
  Inlet: constant velocity
  Turbine blades: Wall in motion
  Structure og riverbed: No slip
  Outlet: Pressure equal to zero
  Surface: Slip*
Geometry
  Height 2.2m
  Width 6m
* Surface condition with zero pressure and no flow through, not implemented

## Slide 10: Is this a drag- or lift driven concept?
Which blades are contributing to a positive torque?
1
2
3
4
5
6
7
8
9
10
11
12
Uin
Fmotst
Flift
R1
R2
Ttot

## Slide 11: Which blades are contributing with a positive torque?
1
2
3
4
5
6
7
8
9
10
11
12
Uin = 2 m/s, ω=1.9 rad/s (18 rpm)
Blade #

## Slide 12: Both the positive and negative torque contributions are due to drag - Lift has no effect!
1
2
3
4
5
6
7
8
9
10
11
12
The turbine is driven by blades 3-7
The velocity vectors show us that the positive torque contribution from blades 3-7 originates from the drag they experience in the flow.
The largest negative torque contribution is occurring on the blades 10, 11 and 12
The blades 1, 2, 8 og 9 do not contribute significantly

## Slide 13
1
2
3
4
5
6
7
8
9
10
11
12
Uin = 2 m/s, ω = 0.2 rad/s (1.9 rpm)
Blade #
Uin = 2 m/s, ω = 0.8 rad/s (7.6 rpm)
Blade #
Uin = 2 m/s, ω = 1.3 rad/s (12.4 rpm)
Blade #
Uin = 2 m/s, ω = 1.9 rad/s (18.1 rpm)
Blade #

## Slide 14: Max Effect and torque at 2m/s flow velocity
Installation | Effect [kW] | Torque [kNm] | Rotational speed [rpm] | Efficiency [%]
No flow beneath the container | 17* | 13* | 12 | 32*
No flow beneath the container including a new inlet | 16* | 12* | 13 | 30*
Free flow beneath the container including pontoons (floaters) | 14 | 9 | 15 | 15**
Free flow beneath the container without pontoons (floaters) | 8 | 9 | 8 | 15
* The riverbed is modeled as completely flat with ”no slip” boundary condition
** The height is 3.8 m when the pontoons (floaters) are included
No flow beneath the container
No flow beneath the container
including a new inlet
Free flow beneath the container
without pontoons (floaters)

## Slide 15: Max Effect, torque and rotational speed at different flow velocities
Flow velocity [m/s] | Torque [kNm] |  | Effect [kW] |  | Rotational speed [rpm] | 
 | No flow beneath the container | Free flow beneath the container | No flow beneath the container | Free flow beneath the container | No flow beneath the container | Free flow beneath the container
2 | 13 | 9 | 17 | 8 | 12 | 9
3 | 24 | 14 | 46 | 22 | 18 | 15
5 | 71 | 31 | 223 | 88 | 30 | 27
6 | 110 | 60 | 400 | 190 | 35 | 30
8 | 200 | 100 | 1000 | 420 | 48 | 40
10 | 320 | 171 | 2000 | 900 | 60 | 50
Only evaluating the container without pontoons for two configurations:
  Installed such that no water flows between the container and the riverbed
  Installed in the middle of the stream such that the water flows freely between the container and the riverbed

## Slide 16: Effect and torque as a function of the rotational speed: Free flow 2m/s
U = 2 m/s : Free flow between container and riverbed
rounds per minute
U= 2 m/s : No flow beneath container
rounds per minute
Torque [kNm]
Torque [kNm]
Effect [kW]
Effect [kW]

## Slide 17: Effect and torque as a function of the rotational speed: Free flow 5m/s
U = 5 m/s : Free flow between container and riverbed
rounds per minute
U= 5 m/s : No flow beneath container
rounds per minute
Torque [kNm]
Torque [kNm]
Effect [kW]
Effect [kW]

## Slide 18
Effect and torque as a function of the rotational speed: Free flow 10m/s
U = 10 m/s : Free flow between container and riverbed
rounds per minute
U= 10 m/s : No flow beneath container
rounds per minute
Torque [kNm]
Torque [kNm]
Effect [kW]
Effect [kW]

## Slide 19: Renewable Energy Sources Act Poland 2015
The current provisions of the Renewable Energy Sources Act from 2015, have implemented the following capacity ranges of installation based on hydropower plants:
1. to 40 kW – micro installation (microhydro plant), including:
  a. to 3 kW,
  b. from 3 to 10 kW,
2. > 40 kW to 200 kW – small installation (small hydro plant),
3. to 5 MW.

## Slide 20: One of many old hydropower plant in Poland

## Slide 21: Micro hydro power plant 1kW-40 kW Will be released 01.06.2015

## Slide 22: Business possibilities Norway -Poland
Innovation Norway is the Norwegian government's official trade representative abroad.
Norway Grants support 13 countries in Europe.
The Norwegian Export Credit Guarantee Agency's (GIEK) guarantees provide competitive financing for foreign buyers of Norwegian export – and security for the Norwegian exporter.»

## Slide 23: ,
For more information: www.deepriveras.com
post@deepriver.no
Deep River has a scalable business
International growth potential
Commercially Proof of Concept
Patent pending
Development of green industry and jobs
______________________________
Thanks for your attention
Suppliers and strategic partners